## only_one_off
Item Code | Item Description | Part No. | Part Description | Model | Spare Part Type | Location | Specify | Min Nos | Max Nos | Minimum Price Per Nos (RM) | Maximum Price Per Nos (RM) | Brand | Expiry Age (In Month) | Current Stock Level | Current Stock Level Has Min
BP0025 | Sensors/ Detectors | 01-0101-0101-044 | O2 Sensor OOM202 |  | One Off | Centralized | Not Specified | 1 | 5 | 280 | 380 | Common | 0 | 0 | No
BP0011 | Equipment Specific Parts | 01-0322-0101-015 | Label Remover | Common | One Off | Company Site Office | Not Specified | 12 | 24 | 25 | 60 | Common | 0 | 0 | No
BP0014 | Hoses/ Tubings/ Adaptors/ Couplers/ Connectors/ Pipes | 01-2305-0102-001 | Swive Air Hose | 505 | One Off | Company Site Office | Not Specified | 0 | 1 | 600 | 650 |  | 0 | 0 | Same
BP0003 | Bulbs/ Lamps | 01-1301-0601-001 | Bulb 12V 50W | M650 | One Off | Company Site Office | Not Specified | 5 | 10 | 185 | 190 | Leica | 0 | 0 | No
BP0027 | Switchs/ Knobs/Buttons | 01-0802-0502-021 | Fresenius 4008S Float Switch Complete |  | One Off | Company Site Office | Not Specified | 1 | 3 | 172.04 | 190 | Fresenius | 0 | 0 | No
BP0026 | Solenoids/ Valves/ Gauges | 01-0802-0503-035 | Fresenius 4008S Reliief valve completed |  | One Off | Company Site Office | Not Specified | 1 | 5 | 179 | 197 | Fresenius | 0 | 0 | No
BP0012 | Filters | 01-0802-0203-001 | Diacap Ultra DF - Online Filter | 7102001 | One Off | Company Site Office | Not Specified | 10 | 20 | 300 | 370 | B.Braun | 0 | 10 | Same
BP0001 | Batteries/ UPS | 01-1909-0902-001 | Battery 6v 2200 mah | Injectomat Agilia | One Off | Company Site Office | Not Specified | 1 | 30 | 140 | 500 | Fresenius | 0 | 0 | No
BP0011 | Equipment Specific Parts | 01-0909-0200-002 | Power Board | Or-1500h | One Off | Company Site Office | Not Specified | 5 | 10 | 720 | 1000 |  | 0 | 2 | No
BP0001 | Batteries/ UPS | 01-0203-0909-001 | Rechargeable Battery 11.1V, Mindray iMEC8 | Mindray iMEC8 | One Off | Company Site Office | Not Specified | 2 | 5 | 400 | 450 | Mindray | 0 | 2 | Same
BP0006 | Cuffs | 01-2002-1001-003 | Cuff Cylindrical 34 Ats | Common | One Off | Company Site Office | Not Specified | 1 | 2 | 400 | 460 | Common | 0 | 0 | No
BP0001 | Batteries/ UPS | 01-0903-0103-005 | BATTERY B. BRAUN INFUSOMAT | Infusomat | One Off | Company Site Office | Not Specified | 3 | 5 | 200 | 220 | B.Braun | 0 | 0 | No
BP0013 | Heater Elements | 01-2305-0101-003 | Heater 230-240Vac, 50/60Hz | 750 | One Off | Company Site Office | Not Specified | 0 | 15 | 10 | 600 |  | 0 | 0 | Same
BP0022 | Power Supply Unit (PCB or Module)/ Transfomer | 01-2406-0201-032 | CHARGERMODULE ASSY | Amx-4 | One Off | Company Site Office | Not Specified | 1 | 2 | 9432 | 10000 | GE | 0 | 0 | No
BP0007 | Diaphragms/ Pumps | 01-0802-0502-004 | Ultrafiltration Pump | 4008b | One Off | Company Site Office | Not Specified | 0 | 2 | 2180.25 | 2500 | Fresenius | 0 | 0 | Same
BP0006 | Cuffs | 01-2002-0101-003 | Cuff Cylindrical 34 Ats | Ats 1500/2000 | One Off | Company Site Office | Not Specified | 0 | 5 | 460 | 500 | Zimmer | 0 | 0 | Same
BP0020 | Paddles/ Wheels/ Castors/Brakes | 01-0802-0503-096 | CASTOR | 4008s | One Off | Company Site Office | Not Specified | 0 | 60 | 118 | 500 | Fresenius | 0 | 0 | Same
BP0013 | Heater Elements | 01-0803-0105-002 | 900MR754 Heater Wire | Mr850 | One Off | Company Site Office | Not Specified | 0 | 5 | 300 | 500 | Fisher & Paykel | 0 | 0 | Same
BP0011 | Equipment Specific Parts | 01-1201-0101-006 | LAMB CARTRIDGE ASSY 6 SERIES )(608125-501) | 6-Series | One Off | Company Site Office | Not Specified | 0 | 10 | 190 | 500 | WELCH ALLYN | 0 | 0 | Same
BP0001 | Batteries/ UPS | 01-2202-0402-002 | Rechargeable Battery (for Draeger Evita 4); Valve Regulated Lead Acid 12V 3.4Ah (LC-R123R4PG) | Evita 4 | One Off | Company Site Office | Not Specified | 4 | 20 | 155 | 300 | Draeger | 0 | 2 | No
BP0005 | Casing/ Covers/ Brackets/ Latches/ Part Holders | 01-0802-0503-025 | Plunger Holder 20ml | 4008s | One Off | Others | Vendor By Purchase Order | 0 | 2 | 85 | 97.75 | Fresenius | 0 | 0 | Same
BP0024 | Printed Circuit Boards (PCB; Other than Power Supply) | 01-2406-0201-030 | Rotor Board GE AMX4 | Amx-4 | One Off | Others | Vendor By Purchase Order | 0 | 2 | 5341 | 6142.15 | GE | 0 | 0 | Same
BP0024 | Printed Circuit Boards (PCB; Other than Power Supply) | 01-2406-0201-041 | Fil KV Control Board GE AMX4 | Amx-4 | One Off | Others | Vendor By Purchase Order | 0 | 1 | 5002 | 5752.3 | GE | 0 | 0 | Same
BP0008 | Displays/ Backlights/ Panels | 01-0903-0201-010 | TOP 3300 FRONT PANEL ASSEMBLY (T6330516(5) ) | Top 3100 | One Off | Others | Vendor By Purchase Order | 0 | 1 | 2067 | 2377.05 | Top | 0 | 0 | Same
BP0021 | Power Cords/ Adaptors (or any part of it) | 01-1903-0701-001 | Power Adaptor | Hem-907 | One Off | Others | Vendor By Purchase Order | 0 | 7 | 80 | 92 | Omron | 0 | 0 | Same
BP0011 | Equipment Specific Parts | 01-1302-0101-004 | Pot Meter | Myomed 432 | One Off | Others | Vendor By Purchase Order | 0 | 1 | 105 | 120.75 | Jh-Enraf | 0 | 0 | Same
BP0011 | Equipment Specific Parts | 01-1302-0101-005 | Strap,250X3Cm | Myomed 432 | One Off | Others | Vendor By Purchase Order | 0 | 7 | 1980 | 2277 | Jh-Enraf | 0 | 0 | Same
BP0004 | Cables/ Lead Wires (or any part of it) | 01-0601-0201-002 | Retractile Cable | HS-100 | One Off | Others | Vendor By Purchase Order | 0 | 5 | 105 | 120.75 | Huntleigh | 0 | 0 | Same
BP0021 | Power Cords/ Adaptors (or any part of it) | 01-0502-0102-003 | 3 Pin Plug Adaptor | Icc300 | One Off | Others | Vendor By Purchase Order | 0 | 100 | 6.9 | 7.94 | Erbe | 0 | 0 | Same
BP0014 | Hoses/ Tubings/ Adaptors/ Couplers/ Connectors/ Pipes | 01-0203-0301-009 | Air Hose 3.5m CRITIKON | Bp8800 | One Off | Others | Vendor By Purchase Order | 0 | 15 | 62 | 71.3 | Colin | 0 | 0 | Same
BP0014 | Hoses/ Tubings/ Adaptors/ Couplers/ Connectors/ Pipes | 01-0203-0302-004 | Tube L Mini | Bp8000 | One Off | Others | Vendor By Purchase Order | 0 | 20 | 58.4 | 67.16 | Colin | 0 | 0 | Same
BP0005 | Casing/ Covers/ Brackets/ Latches/ Part Holders | 01-0901-0701-003 | Corner Bracket | Amenic | One Off | Others | Vendor By Purchase Order | 0 | 1 | 380 | 437 | Ameda | 0 | 0 | Same
BP0013 | Heater Elements | 01-0803-0102-015 | Element Replacement Kit | Mr700/730 | One Off | Others | Vendor By Purchase Order | 0 | 1 | 132 | 151.8 | Fisher & Paykel | 0 | 0 | Same
BP0025 | Sensors/ Detectors | 01-1603-0201-002 | Oxi-Clip Finger Sensor | 4500 | One Off | Others | Vendor By Purchase Order | 0 | 1 | 1520 | 1748 | Invivo | 0 | 0 | Same
BP0001 | Batteries/ UPS | 01-0901-0304-008 | Rechargeable Battery 8.4V 300Ah | C400 & 450 | One Off | Others | Vendor By Purchase Order | 0 | 5 | 280 | 322 |  | 0 | 0 | Same
BP0004 | Cables/ Lead Wires (or any part of it) | 01-1602-0503-003 | ECG Trunk Cable | S/5 Ccm | One Off | Others | Vendor By Purchase Order | 0 | 4 | 190 | 218.5 |  | 0 | 0 | Same
BP0022 | Power Supply Unit (PCB or Module)/ Transfomer | 01-0901-0302-020 | Retrokit Power | C100 | One Off | Others | Vendor By Purchase Order | 0 | 1 | 520 | 598 |  | 0 | 0 | Same
BP0022 | Power Supply Unit (PCB or Module)/ Transfomer | 01-0803-0103-002 | Power PCB Assembly | 900mr | One Off | Others | Vendor By Purchase Order | 0 | 5 | 1267 | 1457.05 |  | 0 | 0 | Same
BP0024 | Printed Circuit Boards (PCB; Other than Power Supply) | 01-0901-0302-021 | Display Board Pcb | C100 | One Off | Others | Vendor By Purchase Order | 0 | 1 | 1000 | 1150 |  | 0 | 0 | Same
BP0024 | Printed Circuit Boards (PCB; Other than Power Supply) | 01-0803-0103-001 | Control PCB Assembly | 900mr066 | One Off | Others | Vendor By Purchase Order | 0 | 5 | 1267 | 1457.05 |  | 0 | 0 | Same
BP0018 | Motors/ Micromotors/ Carbon brushes | 01-0901-0306-001 | Fan Motor | Ti-100 | One Off | Others | Vendor By Purchase Order | 0 | 3 | 1800 | 2070 |  | 0 | 0 | Same
BP0011 | Equipment Specific Parts | 01-1907-0101-001 | Suction Jar Shatterproof Plastic | Suc 84100 | One Off | Others | Vendor By Purchase Order | 0 | 1 | 1350 | 1552.5 |  | 0 | 0 | Same
BP0028 | Transducers/ Probes | 01-1601-0201-041 | Bd'S Pressure Tranducer P23Xl-1 | 90385 | One Off | Others | Vendor By Purchase Order | 0 | 5 | 3750 | 4312.5 |  | 0 | 0 | Same
BP0005 | Casing/ Covers/ Brackets/ Latches/ Part Holders | 01-1907-0101-002 | ESHMAN SPARE LID FOR RECEIVED JAR | Suc 84100 | One Off | Others | Vendor By Purchase Order | 0 | 1 | 480 | 552 |  | 0 | 0 | Same
BP0011 | Equipment Specific Parts | 01-0104-0101-005 | Silencer | Ev500 | One Off | Others | Vendor By Purchase Order | 0 | 3 | 2.4 | 2.76 | Ulco | 0 | 0 | Same
BP0011 | Equipment Specific Parts | 01-0101-0101-032 | 1/2 Clip | Elite 615 | One Off | Others | Vendor By Purchase Order | 0 | 50 | 1.1 | 1.27 | Ulco | 0 | 0 | Same
BP0011 | Equipment Specific Parts | 01-0101-0101-033 | 9/16 Clip | Elite 615 | One Off | Others | Vendor By Purchase Order | 0 | 50 | 1.3 | 1.5 | Ulco | 0 | 0 | Same
BP0024 | Printed Circuit Boards (PCB; Other than Power Supply) | 01-1909-0305-001 | E Module | Perfusor Compact S | One Off | Others | Vendor By Purchase Order | 0 | 1 | 950 | 1092.5 | B.BRAUN | 0 | 0 | Same
BP0025 | Sensors/ Detectors | 01-1603-0401-008 | Po Finger Clip Sensor | 3740 | One Off | Others | Vendor By Purchase Order | 0 | 15 | 323 | 371.45 | OHMEDA | 0 | 0 | Same
BP0025 | Sensors/ Detectors | 01-1603-0401-009 | Po Ohmeda Flex 11 Sensor | 3740 | One Off | Others | Vendor By Purchase Order | 0 | 1 | 300 | 345 | OHMEDA | 0 | 0 | Same
BP0025 | Sensors/ Detectors | 01-1603-0401-010 | Ear Clip Sensor | 3740 | One Off | Others | Vendor By Purchase Order | 0 | 1 | 150 | 172.5 | OHMEDA | 0 | 0 | Same
BP0011 | Equipment Specific Parts | 01-0903-0201-009 | TOP 3300 HANDLE MAIN UNIT (T6335602(2)) | Top 3100 | One Off | Others | Vendor By Purchase Order | 0 | 1 | 76 | 87.4 | TOP | 0 | 0 | Same
BP0011 | Equipment Specific Parts | 01-1910-0101-003 | Slider Subass | Top 5300 | One Off | Others | Vendor By Purchase Order | 0 | 15 | 441 | 507.15 | TOP | 0 | 0 | Same
BP0011 | Equipment Specific Parts | 01-1909-0204-006 | Boot Unit | Te-311 | One Off | Others | Vendor By Purchase Order | 0 | 10 | 122 | 140.3 | TERUMO | 0 | 0 | Same
BP0005 | Casing/ Covers/ Brackets/ Latches/ Part Holders | 01-1909-0201-016 | Slider Cover Unit | Stc523 | One Off | Others | Vendor By Purchase Order | 0 | 10 | 410 | 471.5 | TERUMO | 0 | 0 | Same
BP0005 | Casing/ Covers/ Brackets/ Latches/ Part Holders | 01-1909-0204-015 | Sypu Lower Case | Te-311 | One Off | Others | Vendor By Purchase Order | 0 | 3 | 252 | 289.8 | TERUMO | 0 | 0 | Same
BP0011 | Equipment Specific Parts | 01-1909-0305-002 | Drive Unit Complete | Perfusor Compact S | One Off | Others | Vendor By Purchase Order | 0 | 3 | 1330 | 1529.5 | B.BRAUN | 0 | 0 | Same
BP0001 | Batteries/ UPS | 01-1909-0701-001 | Rechargeable Battery | 404 | One Off | Others | Vendor By Purchase Order | 0 | 2 | 80 | 92 | Akas | 0 | 0 | Same
BP0011 | Equipment Specific Parts | 01-0401-0101-009 | Recorder Assy | Lp9b | One Off | Others | Vendor By Purchase Order | 0 | 5 | 3100 | 3565 | PHYSIO CONTROL | 0 | 0 | Same
BP0003 | Bulbs/ Lamps | 01-1301-0702-001 | Mic Lamp Regulation Board | Opmi 6 On S3 | One Off | Others | Vendor By Purchase Order | 0 | 3 | 350 | 402.5 | CARL ZEISS | 0 | 0 | Same
BP0024 | Printed Circuit Boards (PCB; Other than Power Supply) | 01-0401-0101-010 | Main Pcb Assembly | Lp9b | One Off | Others | Vendor By Purchase Order | 0 | 1 | 5500 | 6325 | PHYSIO CONTROL | 0 | 0 | Same
BP0015 | Keyboards/ Keypads/ Remotes | 01-0503-0302-003 | Keyboard Panel | 106 | One Off | Others | Vendor By Purchase Order | 0 | 5 | 450 | 517.5 | SUZUKEN | 0 | 0 | Same
BP0011 | Equipment Specific Parts | 01-0503-0302-007 | Thermal Head | 106 | One Off | Others | Vendor By Purchase Order | 0 | 10 | 800 | 920 | SUZUKEN | 0 | 0 | Same
BP0011 | Equipment Specific Parts | 01-0503-0302-009 | Printer Roller Spool | 106 | One Off | Others | Vendor By Purchase Order | 0 | 10 | 35 | 40.25 | SUZUKEN | 0 | 0 | Same
BP0011 | Equipment Specific Parts | 01-0901-0101-005 | Pb,Inverter | V850 | One Off | Others | Vendor By Purchase Order | 0 | 1 | 16 | 18.4 | ATOM | 0 | 0 | Same
BP0011 | Equipment Specific Parts | 01-0803-0101-002 | Infant Humidifier Chamber | Mr600/601/602 | One Off | Others | Vendor By Purchase Order | 0 | 5 | 860 | 989 | Fisher & Paykel | 0 | 0 | Same
BP0014 | Hoses/ Tubings/ Adaptors/ Couplers/ Connectors/ Pipes | 01-1601-0405-001 | Hose Connect, Trio | Trio | One Off | Others | Vendor By Purchase Order | 0 | 3 | 480 | 552 | Datascope | 0 | 0 | Same
BP0005 | Casing/ Covers/ Brackets/ Latches/ Part Holders | 01-1909-0101-002 | Upper Casing,Clamp&Sheet | 5100 | One Off | Others | Vendor By Purchase Order | 0 | 1 | 671 | 771.65 | TOP | 0 | 0 | Same
BP0026 | Solenoids/ Valves/ Gauges | 01-1803-0102-001 | RP VALVE BODY ASSEMBLY | Alphabed Plus | One Off | Others | Vendor By Purchase Order | 0 | 2 | 80 | 92 | HUNTLEIGH | 0 | 0 | Same
BP0005 | Casing/ Covers/ Brackets/ Latches/ Part Holders | 01-1803-1201-001 | Handle Bracket Set | 1010 | One Off | Others | Vendor By Purchase Order | 0 | 10 | 175 | 201.25 | AEROCARE | 0 | 0 | Same
BP0011 | Equipment Specific Parts | 01-1803-1201-002 | Compressor | 1010 | One Off | Others | Vendor By Purchase Order | 0 | 2 | 600 | 690 | AEROCARE | 0 | 0 | Same
BP0011 | Equipment Specific Parts | 01-1803-1401-001 | Air Reservoir | App 2000 | One Off | Others | Vendor By Purchase Order | 0 | 10 | 55 | 63.25 | Bantex | 0 | 0 | Same
BP0007 | Diaphragms/ Pumps | 01-1803-1401-002 | Pumping Set | App 2000 | One Off | Others | Vendor By Purchase Order | 0 | 10 | 63.6 | 73.14 | Bantex | 0 | 0 | Same
BP0024 | Printed Circuit Boards (PCB; Other than Power Supply) | 01-1302-0101-002 | Pcb,Display | Myomed 432 | One Off | Others | Vendor By Purchase Order | 0 | 1 | 100 | 115 | JH-ENRAF | 0 | 0 | Same
BP0024 | Printed Circuit Boards (PCB; Other than Power Supply) | 01-1302-0101-003 | Pcb,Main | Myomed 432 | One Off | Others | Vendor By Purchase Order | 0 | 1 | 38 | 43.7 | JH-ENRAF | 0 | 0 | Same
BP0011 | Equipment Specific Parts | 01-1401-0102-003 | Nozzle Complete | Inhalierboy | One Off | Others | Vendor By Purchase Order | 0 | 4 | 280 | 322 | PARI | 0 | 0 | Same
BP0026 | Solenoids/ Valves/ Gauges | 01-0804-0101-001 | Terumo Vacuum Valve | Acs152 | One Off | Others | Vendor By Purchase Order | 0 | 1 | 1090 | 1253.5 | TERUMO | 0 | 0 | Same
BP0005 | Casing/ Covers/ Brackets/ Latches/ Part Holders | 01-0303-0301-001 | Case Bottom | M13151a | One Off | Others | Vendor By Purchase Order | 0 | 3 | 328 | 377.2 | AGILENT | 0 | 0 | Same
BP0028 | Transducers/ Probes | 01-0306-0203-002 | Probe Aga | 747 | One Off | Others | Vendor By Purchase Order | 0 | 1 | 2132 | 2451.8 | HITACHI | 0 | 0 | Same
BP0022 | Power Supply Unit (PCB or Module)/ Transfomer | 01-0401-0101-006 | Power Convertion Board | Lp9b | One Off | Others | Vendor By Purchase Order | 0 | 1 | 5500 | 6325 | PHYSIO CONTROL | 0 | 0 | Same
BP0011 | Equipment Specific Parts | 01-2203-0101-003 | Manometer With Pointer | Iv100b | One Off | Others | Vendor By Purchase Order | 0 | 2 | 498.5 | 573.28 | Sechrist | 0 | 0 | Same
BP0024 | Printed Circuit Boards (PCB; Other than Power Supply) | 01-0503-0302-013 | Mother Board Unit | 106 | One Off | Others | Vendor By Purchase Order | 0 | 10 | 38 | 43.7 | SUZUKEN | 0 | 0 | Same
BP0010 | Electronic Components | 01-0802-0101-025 | Relay Solid State | Sps450/550 | One Off | Others | Vendor By Purchase Order | 0 | 4 | 40 | 46 | BAXTER | 0 | 0 | Same
BP0004 | Cables/ Lead Wires (or any part of it) | 01-0802-0101-038 | Patient Cable | Sps450/550 | One Off | Others | Vendor By Purchase Order | 0 | 4 | 276.1 | 317.52 | BAXTER | 0 | 0 | Same
BP0005 | Casing/ Covers/ Brackets/ Latches/ Part Holders | 01-1601-0402-005 | DATASCOPE BEZEL FRONT HIGHT ASSEMBLY 0380-00-0359-04 | Accutor Plus | One Off | Others | Vendor By Purchase Order | 0 | 3 | 388 | 446.2 | Datascope | 0 | 0 | Same
BP0011 | Equipment Specific Parts | 01-1303-0101-001 | Htc Protection Sheild For Hps 101 | Chemopharm | One Off | Others | Vendor By Purchase Order | 0 | 1 | 18 | 20.7 | Chemopharm | 0 | 0 | Same
BP0020 | Paddles/ Wheels/ Castors/Brakes | 01-1402-0301-001 | CASTOR WHEEL WITH SCREW HEAD 2 | Bp8000c | One Off | Others | Vendor By Purchase Order | 0 | 50 | 3.5 | 4.03 | Press Mate | 0 | 0 | Same